## ET10 Sample Raw Data File
Head: | OIA0045-05
Software Version: | 3.0.0.7
OS Version: | 5.0.1400.3
Firmware Version: | Product ID 1, App Number 2, 0.8
File Name: | qa oia0045-05
Lock: | no
Selected Bands: | 0, 1
Selected Angles: | 20
Emissivity: | yes
Calibration Reflectance:
Angle | Band 1 | Band 2
20 | 0.989 | 0.989
Angle 20
|  |  | 8.0-12.0 | 3.0-5.0
Point # | Date/Time | Sample | Emissivity | Emissivity | Battery [V] | Battery [A] | Micro [V] | FPGA 2.5 [V] | FPGA 1.2 [V] | PDA [V] | Analog [V] | Source [V] | Source [A] | Sphere T [∞C] | Chopper [Hz] | VCal(R, 1) | VCal(R, 2) | VCal(20, 1) | VCal(20, 2) | VCalZero(R, 1) | VCalZero(R, 2) | VCalZero(20, 1) | VCalZero(20, 2) | ARCal(20, 1) | ARCal(20, 2) | VSam(R, 1) | VSam(R, 2) | VSam(20, 1) | VSam(20, 2) | VSamZero(R, 1) | VSamZero(R, 2) | VSamZero(20, 1) | VSamZero(20, 2) | Points | Source | Chopper | HV Bias | Trig Delay | Step Delay | LED Time | Bat Warning | Shut Off | Cal x | Sample x
1 | 2018-12-10 11:14 | Cal |  |  | 11.68 | 0.4 | 3.33 | 2.49 | 1.2 | 8.83 | 5.06 -5.25 | 4.78 | 0.51 | 33.46 | 98.31 | 910 | 686 | 954 | 706 | 761 | 574 | 28 | 19 | 1.049 | 1.029 | [8 empty] | 40 | 70 | 35 | 100 | 0.7 | 0.25 | 0.3 | 22 | 10 | 3 | 3
2 | 2018-12-10 11:15 | Cal |  |  | 11.68 | 0.4 | 3.33 | 2.49 | 1.2 | 8.83 | 5.06 -5.25 | 4.77 | 0.51 | 33.51 | 98.63 | 917 | 685 | 960 | 705 | 765 | 574 | 29 | 19 | 1.046 | 1.029 | [8 empty] | 40 | 70 | 35 | 100 | 0.7 | 0.25 | 0.3 | 22 | 10 | 3 | 3
3 | 2018-12-10 11:15 | Cal |  |  | 11.68 | 0.4 | 3.33 | 2.49 | 1.2 | 8.84 | 5.06 -5.24 | 4.77 | 0.51 | 33.56 | 98.55 | 919 | 684 | 962 | 704 | 766 | 573 | 27 | 19 | 1.047 | 1.029 | [8 empty] | 40 | 70 | 35 | 100 | 0.7 | 0.25 | 0.3 | 22 | 10 | 3 | 3
Averaged |  | Cal | [21 empty] | 1.047 | 1.029
StDev |  | Cal | [21 empty] | 0.002 | 0
RStDev |  | Cal | [21 empty] | 0.151 | 0.037
1 | 2018-12-10 11:15 | gold cal | 0.011 | 0.011 | 11.68 | 0.4 | 3.33 | 2.49 | 1.2 | 8.84 | 5.06 -5.24 | 4.78 | 0.51 | 33.61 | 98.44 | [10 empty] | 918 | 684 | 962 | 704 | 767 | 572 | 28 | 19 | 40 | 70 | 35 | 100 | 0.7 | 0.25 | 0.3 | 22 | 10 | 3 | 3
2 | 2018-12-10 11:16 | gold cal | 0.009 | 0.011 | 11.69 | 0.4 | 3.33 | 2.49 | 1.2 | 8.84 | 5.06 -5.25 | 4.78 | 0.51 | 33.66 | 99 | [10 empty] | 918 | 682 | 964 | 703 | 766 | 572 | 28 | 19 | 40 | 70 | 35 | 100 | 0.7 | 0.25 | 0.3 | 22 | 10 | 3 | 3
3 | 2018-12-10 11:16 | gold cal | 0.01 | 0.011 | 11.69 | 0.4 | 3.33 | 2.49 | 1.2 | 8.84 | 5.06 -5.25 | 4.78 | 0.51 | 33.71 | 98.03 | [10 empty] | 919 | 682 | 963 | 702 | 768 | 571 | 30 | 19 | 40 | 70 | 35 | 100 | 0.7 | 0.25 | 0.3 | 22 | 10 | 3 | 3
Averaged |  | gold cal | 0.01 | 0.011
StDev |  | gold cal | 0.001 | 0
RStDev |  | gold cal | 10.173 | 3.484
4 | 2018-12-10 11:17 | esli | 0.989 | 0.996 | 11.67 | 0.4 | 3.33 | 2.49 | 1.2 | 8.84 | 5.06 -5.25 | 4.78 | 0.51 | 33.81 | 99.01 | [10 empty] | 770 | 571 | 34 | 21 | 765 | 569 | 25 | 18 | 40 | 70 | 35 | 100 | 0.7 | 0.25 | 0.3 | 22 | 10 | 3 | 3
5 | 2018-12-10 11:17 | esli | 0.992 | 0.996 | 11.68 | 0.4 | 3.33 | 2.49 | 1.2 | 8.84 | 5.06 -5.25 | 4.78 | 0.51 | 33.86 | 98.26 | [10 empty] | 768 | 569 | 33 | 21 | 767 | 568 | 27 | 18 | 40 | 70 | 35 | 100 | 0.7 | 0.25 | 0.3 | 22 | 10 | 3 | 3
6 | 2018-12-10 11:18 | esli | 0.99 | 0.996 | 11.69 | 0.4 | 3.33 | 2.49 | 1.2 | 8.83 | 5.06 -5.25 | 4.77 | 0.51 | 33.96 | 99.24 | [10 empty] | 773 | 568 | 34 | 21 | 769 | 567 | 26 | 18 | 40 | 70 | 35 | 100 | 0.7 | 0.25 | 0.3 | 22 | 10 | 3 | 3
Averaged |  | esli | 0.99 | 0.996
StDev |  | esli | 0.001 | 0
RStDev |  | esli | 0.127 | 0.018
7 | 2018-12-10 11:19 | black glass | 0.848 | 0.963 | 11.7 | 0.4 | 3.33 | 2.49 | 1.2 | 8.84 | 5.06 -5.25 | 4.78 | 0.51 | 34.21 | 99.49 | [10 empty] | 790 | 571 | 150 | 39 | 768 | 563 | 27 | 18 | 40 | 70 | 35 | 100 | 0.7 | 0.25 | 0.3 | 22 | 10 | 3 | 3
8 | 2018-12-10 11:19 | black glass | 0.856 | 0.964 | 11.69 | 0.4 | 3.33 | 2.49 | 1.2 | 8.83 | 5.06 -5.25 | 4.77 | 0.51 | 34.26 | 99.16 | [10 empty] | 796 | 570 | 147 | 39 | 770 | 562 | 29 | 18 | 40 | 70 | 35 | 100 | 0.7 | 0.25 | 0.3 | 22 | 10 | 3 | 3
9 | 2018-12-10 11:19 | black glass | 0.853 | 0.964 | 11.69 | 0.4 | 3.33 | 2.49 | 1.2 | 8.84 | 5.06 -5.25 | 4.78 | 0.51 | 34.31 | 98.12 | [10 empty] | 800 | 569 | 150 | 39 | 773 | 561 | 29 | 18 | 40 | 70 | 35 | 100 | 0.7 | 0.25 | 0.3 | 22 | 10 | 3 | 3
Averaged |  | black glass | 0.852 | 0.964
StDev |  | black glass | 0.004 | 0
RStDev |  | black glass | 0.456 | 0.046
10 | 2018-12-10 11:20 | diffuse aluminum | 0.151 | 0.131 | 11.7 | 0.4 | 3.33 | 2.49 | 1.2 | 8.84 | 5.06 -5.24 | 4.78 | 0.51 | 34.36 | 98.75 | [10 empty] | 903 | 653 | 817 | 594 | 772 | 560 | 26 | 18 | 40 | 70 | 35 | 100 | 0.7 | 0.25 | 0.3 | 22 | 10 | 3 | 3
11 | 2018-12-10 11:20 | diffuse aluminum | 0.152 | 0.132 | 11.7 | 0.4 | 3.33 | 2.49 | 1.2 | 8.84 | 5.06 -5.24 | 4.77 | 0.51 | 34.41 | 98.54 | [10 empty] | 903 | 652 | 816 | 592 | 771 | 559 | 25 | 18 | 40 | 70 | 35 | 100 | 0.7 | 0.25 | 0.3 | 22 | 10 | 3 | 3
12 | 2018-12-10 11:21 | diffuse aluminum | 0.148 | 0.135 | 11.69 | 0.4 | 3.33 | 2.49 | 1.2 | 8.84 | 5.06 -5.25 | 4.78 | 0.51 | 34.46 | 99.09 | [10 empty] | 902 | 651 | 818 | 589 | 773 | 558 | 29 | 18 | 40 | 70 | 35 | 100 | 0.7 | 0.25 | 0.3 | 22 | 10 | 3 | 3
Averaged |  | diffuse aluminum | 0.15 | 0.133
StDev |  | diffuse aluminum | 0.002 | 0.002
RStDev |  | diffuse aluminum | 1.304 | 1.647
13 | 2018-12-10 11:22 | silicon | 0.565 | 0.535 | 11.69 | 0.4 | 3.33 | 2.49 | 1.2 | 8.84 | 5.06 -5.25 | 4.78 | 0.51 | 34.61 | 99.32 | [10 empty] | 831 | 600 | 398 | 301 | 771 | 556 | 26 | 18 | 40 | 70 | 35 | 100 | 0.7 | 0.25 | 0.3 | 22 | 10 | 3 | 3
14 | 2018-12-10 11:22 | silicon | 0.566 | 0.536 | 11.7 | 0.4 | 3.33 | 2.49 | 1.2 | 8.84 | 5.06 -5.24 | 4.77 | 0.51 | 34.66 | 98.34 | [10 empty] | 831 | 599 | 398 | 299 | 775 | 554 | 27 | 18 | 40 | 70 | 35 | 100 | 0.7 | 0.25 | 0.3 | 22 | 10 | 3 | 3
15 | 2018-12-10 11:22 | silicon | 0.564 | 0.535 | 11.7 | 0.4 | 3.33 | 2.49 | 1.2 | 8.84 | 5.06 -5.24 | 4.77 | 0.51 | 34.71 | 97.95 | [10 empty] | 835 | 598 | 401 | 299 | 777 | 554 | 26 | 18 | 40 | 70 | 35 | 100 | 0.7 | 0.25 | 0.3 | 22 | 10 | 3 | 3
Averaged |  | silicon | 0.565 | 0.536
StDev |  | silicon | 0.001 | 0.001
RStDev |  | silicon | 0.203 | 0.138